## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-02 14:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 48.5 | 32.1 | 48.55 | 32.25 | 48.65 | 1.5 | 1 | 30.1 | 30.45 | 30.2 | 30.05 | 29.95 | 29.95 | 29.95 | 204.9 | 114.4 | 146.05 | 223.75 | 422.5 | 217.4
2026-09-02 14:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 31.97 | 48.7 | 31.78 | 49.01 | 31.73 | 49.41 | 1.91 | 1.91 | 29.94 | 29.87 | 29.58 | 29.28 | 29.81 | 29.66 | 29.37 | 82.85 | 94.93 | 168.12 | 158.81 | 119.03 | 30.58 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.27 | 48.32 | 32.22 | 48.3 | 32.29 | 48.45 | 1.93 | 1.82 | 30.31 | 30.5 | 30.22 | 30.06 | 30.1 | 30 | 30 | 235.52 | 164.88 | 186.62 | 245.99 | 508.84 | 257.56
2026-09-02 14:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 32.08 | 48.67 | 32.02 | 48.67 | 31.79 | 49.36 | 1.34 | 1.33 | 31.62 | 31.49 | 30.64 | 30.53 | 30.66 | 30.23 | 29.79 | 38.54 | 51.76 | 107.01 | 85.53 | 58.49 | 25.55 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.31 | 48.32 | 32.25 | 48.23 | 32.22 | 48.76 | 1.33 | 1.24 | 30.24 | 30.48 | 30.26 | 30.11 | 29.92 | 29.84 | 29.89 | 233.68 | 128.04 | 164.3 | 249.35 | 471.72 | 236.19
2026-09-02 15:15:00 | [122 empty] | 0.02 | 29.84 | 63.26 | 998 | 300.49
2026-09-02 15:30:00 | [122 empty] | 0.02 | 30.13 | 62.9 | 998 | 307.25
2026-09-02 15:45:00 |  |  |  |  | 41.21 | 0 | 59.87 | 79.45 | 67.16 | -0.5 | 50.84 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 16:45:00 |  |  |  |  | 55.5 | 2 | 0.5 | 38.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-09-02 17:00:00 |  |  |  |  | 27.97 | 0.72 | 0.19 | 15.75 | 0.26 | 0 | 0 | 0 | 0.08 | 0 | 0 | 0 | 0.03 | 0 | 0 | 0
2026-09-03 17:00:00 | 1 | 25.75 | 1 | 0
2026-09-05 11:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.45 | 29.65 | 29.45 | 29.25 | 28.9 | 28.7 | 28.95
2026-09-05 12:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.66 | 29.78 | 29.57 | 29.4 | 29.14 | 29.02 | 29.11
2026-09-05 15:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 30.2 | 32.2 | 29.7 |  |  | 20 | 4 | 29.8 | 29.9 | 29.8 | 29.9 | 29.6 | 29.7 | 29.7 | 807.6 | 348.5 | 1459.8 | 1000.4 |  | 1913.8
2026-09-05 16:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.6 | 29 | 32.4 | 30.2 |  |  | 20 | 4 | 29.93 | 29.97 | 29.87 | 29.83 | 29.6 | 29.6 | 29.63 | 760.8 | 2151.6 | 1429.8 | 976.9 | 11921.2 | 1991.4
2026-09-05 16:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.28 | 31.13 | 31.28 | 32.68 |  |  | 15 | 30.75 | 29.55 | 29.7 | 29.68 | 29.7 | 29.48 | 29.45 | 29.58 | 813.33 | 1768.5 | 1667.2 | 797.7 | 7347.85 | 1964.08
2026-09-05 16:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.33 | 31.38 | 31.18 | 33.1 | 32.78 | 31.25 | 11.5 | 26.25 | 29.78 | 29.95 | 30.1 | 30.18 | 29.9 | 29.83 | 29.9 | 589.68 | 1391.2 | 5897.15 | 593.08 | 4580 | 3646.2
2026-09-05 17:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.35 | 29.05 | 29.1 | 29.15 | 28.95 | 28.5 | 28.95
2026-09-05 17:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.1 | 37.95 | 28.5 | 39.1 | 28.95 | 39.05 | 1 | 1 | 29.97 | 29.2 | 29.4 | 29.5 | 198.5 | 28.23 | 28.63 | 60.5 | 250.75 | 104.3 | 66.2 | 327.85 | 108.8
2026-09-06 10:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.61 | 38.87 | 28.87 | 40.14 | 29.14 | 39.94 | 4 | 4 | 28.2 | 30.18 | 28.82 | 27.95 | 27.39 | 26.98 | 27.44 | 603.66 | 2496.36 | 963.13 |  | 1845.72
2026-09-06 10:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.17 | 37.49 | 29.3 | 38.83 | 29.63 | 38.47 | 4 | 4 | 28.29 | 30.51 | 28.86 | 27.99 | 27.5 | 27.19 | 27.57 | 614.5 | 2507.24 | 971.46 |  | 1853.2
2026-09-06 10:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 39.37 | 27.87 | 40.8 | 28.1 | 39.93 | 4 | 4 | 28.33 | 30.47 | 28.87 | 27.97 | 27.57 | 27.23 | 27.57 | 588.2 | 2527.27 | 950.97 |  | 1878.33 | [49 empty] | 4.74 | 26.65 | 43.15 | 911 | 109.9
2026-09-06 11:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.71 | 35.93 | 29.16 | 36.61 | 29.28 | 36.09 | 4 | 3.9 | 29.09 | 31.75 | 29.76 | 28.83 | 28.29 | 28.05 | 28.42 | 546.95 | 2656.23 | 965.97 | 452.4 | 2372.92 | 688.22 | [48 empty] | 4.5 | 28.02 | 40.79 | 910 | 167.93
2026-09-06 12:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.86 | 34.66 | 30.12 | 35.68 | 30.18 | 35.32 | 4 | 3.4 | 29.4 | 32.1 | 30.14 | 28.88 | 28.4 | 28.02 | 28.5 | 572.78 | 2629.9 | 962.48 |  | 2407.44 | 0 | [48 empty] | 4.15 | 27.88 | 40.44 | 910 | 156.92
2026-09-06 13:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.35 | 29.5 | 29.35 | 29.25 | 29.15 | 29.1 | 28.95 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.13 | 31.47 | 31.44 | 31.75 | 31.7 | 31.28 | 5 | 4 | 32.72 | 34.01 | 34.13 | 30.98 | 30.63 | 30.23 | 30.43 | 642.63 | 2783.58 | 1148.1 | 798.34 | 26537.25 | 1173.54 | [48 empty] | 3.48 | 30.45 | 35.66 | 908 | 148.78
2026-09-06 14:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.71 | 29.92 | 29.96 | 29.69 | 29.36 | 29.3 | 29.2 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.1 | 30.85 | 32.17 | 32.07 | 32.65 | 31.45 | 5.4 | 4 | 33.39 | 33.83 | 37.69 | 30.59 | 30.47 | 29.87 | 30.05 | 647.55 | 2961.68 | 1234 | 879.81 | 28838.79 | 1312.57 | [48 empty] | 6.03 | 29.84 | 40.71 | 908 | 264.19
2026-09-06 14:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.21 | 29.43 | 29.71 | 29.25 | 28.9 | 28.96 | 28.72
2026-09-06 14:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.55 | 29.73 | 29.96 | 29.55 | 29.11 | 29.07 | 28.92
2026-09-06 14:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.47 | 30.65 | 30.68 | 30.42 | 29.95 | 29.73 | 29.7
2026-09-06 15:30:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.8 | 40.1 | 30.05 | 41.25 | 30.95 | 39.85 | 17.5 | 4 | 34.2 | 30.1 | 34.05 | 30.35 | 30.65 | 29.55 | 29.95 | 710.1 | 2516.05 | 1335.95 | 958.6 | 9585.05 | 1565.35 | [48 empty] | 11.84 | 28.15 | 49.05 | 908 | 321.1
2026-09-06 15:45:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.5 | 38.77 | 30.78 | 39.95 | 31.72 | 38.58 | 12.33 | 3.83 | 33.15 | 30.06 | 33.78 | 30.26 | 30.09 | 29.53 | 29.84 | 583.3 | 2046.03 | 1110.46 | 781.62 | 6396.12 | 1315.2 | [48 empty] | 8.28 | 28.24 | 48.94 | 908 | 265.36
2026-09-06 16:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.9 | 37.87 | 31.47 | 38.8 | 31.97 | 38.43 | 7 | 3.33 | 32.23 | 29.7 | 32.84 | 29.78 | 29.73 | 29.24 | 29.4 | 438.67 | 1404.07 | 852.93 | 550.2 | 3663.63 | 2067 | [48 empty] | 7.89 | 27.84 | 49.04 | 908 | 263.71
2026-09-06 16:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.31 | 40.32 | 30.12 | 40.41 | 29.85 | 41.32 | 2.2 | 3 | [7 empty] | 518.97 | 684.35 | 501.11 | 270.85 | 1255.61 | 1761.86 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.08 | 37.87 | 31.42 | 38.9 | 32.02 | 37.96 | 12.1 | 5.3 | 32.9 | 30.34 | 33.52 | 30.31 | 30.23 | 29.72 | 30.05 | 540.2 | 1665.03 | 1694.29 | 614.36 | 4689.49 | 2625.07 | [48 empty] | 4.34 | 28 | 48.87 | 908 | 216.33
2026-09-06 16:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.91 | 39.81 | 30.85 | 39.84 | 30.58 | 40.53 | 1.73 | 1.87 | [7 empty] | 288.35 | 417.92 | 341.1 | 184.21 | 836.05 | 1087.79 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.19 | 38.61 | 31.37 | 39.78 | 32.02 | 38.86 | 2.56 | 2.33 | 32.86 | 30.16 | 33.93 | 30.1 | 29.77 | 29.58 | 30.07 | 218.42 | 880.28 | 446.76 | 274.83 | 1561.33 | 472.48 | [48 empty] | 7.76 | 26.16 | 55.3 | 908 | 163.74
2026-09-06 16:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 30.63 | 40.13 | 30.75 | 39.89 | 30.51 | 40.57 | 1 | 1 | [7 empty] | 137.11 | 201.29 | 195.59 | 108.5 | 536.77 | 471.78 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.76 | 37.42 | 31.62 | 39.2 | 32.12 | 38.66 | 3.2 | 3.4 | 32.14 | 29.58 | 32.82 | 29.52 | 29.44 | 28.84 | 29.22 | 179.78 | 683.36 | 466.8 | 177.86 | 1082.6 | 370.34 | [48 empty] | 9.93 | 25.82 | 55.72 | 908 | 146.02
2026-09-06 17:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.95 | 41.15 | 30.08 | 40.91 | 29.95 | 41.41 | 1 | 1 | [7 empty] | 89.31 | 129.2 | 144.52 | 81.84 | 397.63 | 294.49
2026-09-06 17:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.61 | 41.82 | 29.81 | 41.38 | 29.65 | 41.94 | 1 | 1 | [7 empty] | 44.17 | 69.07 | 82.95 | 47.33 | 232.48 | 149.21 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.1 | 41.52 | 29.61 | 42.85 | 30.03 | 42.24 | 1 | 1 | 28.77 | 28.08 | 28.86 | 27.95 | 28.09 | 28.92 | 27.88 | 193.7 | 354.65 | 328.08 | 216.96 | 364.95 | 309.92 | [24 empty] | 224.54 | 0.11 | 9.62 | 0.01 | 49.99 | 0.4 | [18 empty] | 5.39 | 24.56 | 58.58 | 909 | 148.32
2026-09-06 17:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.33 | 42.36 | 29.61 | 41.77 | 29.49 | 42.29 | 1 | 0.93 | [7 empty] | 295.89 | 370.15 | 439.2 | 345.22 | 314.51 | 364.23 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 30.58 | 40.77 | 30.14 | 41.76 | 30.58 | 41.45 | 1 | 1 | 28.28 | 28.43 | 28.23 | 27.8 | 30.66 | 29.39 | 31.68 | 309.17 | 399.13 | 623.73 | 430.09 | 521.04 | 600.47 | [24 empty] | 224.18 | 0.11 | 9.44 | 0.01 | 49.96 | 0.39 | [7 empty] | 0 | 0 | 0 | 0 | 0 | [6 empty] | 4.84 | 24.18 | 59.69 | 909 | 193.52
2026-09-06 17:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.58 | 42.01 | 29.79 | 41.47 | 29.71 | 41.91 | 1 | 1 | [7 empty] | 514.51 | 631.57 | 752.4 | 600.64 | 420.77 | 566.22
2026-09-06 18:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.67 | 41.91 | 29.91 | 41.35 | 29.87 | 41.71 | 1 | 1 | [7 empty] | 505.4 | 617.97 | 737.29 | 588.99 | 393.63 | 542.47
2026-09-06 18:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.59 | 42.42 | 29.83 | 41.86 | 29.77 | 42.29 | 1 | 1 | [7 empty] | 502.47 | 612.3 | 726.56 | 585.05 | 389.54 | 538.77
2026-09-06 18:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.48 | 42.93 | 29.77 | 42.27 | 29.71 | 42.56 | 1 | 1 | [7 empty] | 502.98 | 615.19 | 732.97 | 585.36 | 390.35 | 540.26 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.31 | 44.8 | 28.43 | 44.93 | 28.46 | 44.61 | 1 | 1 | 26.4 | 25.93 | 26.33 | 25.79 | 27.76 | 27.69 | 27.7 | 275.3 | 173.41 | 393.31 | 260.77 | 183.9 | 273.66 | [24 empty] | 221.7 | 0.11 | 9.79 | 0.01 | 50 | 0.39 | [7 empty] | 0 | 0 | 0 | 0 | 0 | [6 empty] | 4.77 | 22.54 | 67.66 | 910 | 181.47
2026-09-06 18:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.44 | 43.53 | 29.66 | 42.97 | 29.66 | 43.17 | 1 | 1 | [7 empty] | 503.03 | 615.17 | 733.43 | 585.21 | 390.21 | 540.06 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.85 | 45.18 | 28.92 | 45.04 | 28.93 | 45.08 | 1 | 1 | 26.15 | 25.76 | 26.04 | 25.58 | 27.61 | 27.44 | 27.47 | 280.45 | 174.11 | 395.94 | 261.28 | 183.7 | 274.66 | [24 empty] | 222.17 | 0.12 | 10.73 | 0.01 | 50 | 0.4 | [18 empty] | 2.69 | 22.27 | 68.81 | 911 | 155.14
2026-09-06 19:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.29 | 44.27 | 29.55 | 43.67 | 29.61 | 43.81 | 1 | 1 | [7 empty] | 503.2 | 615.61 | 733.68 | 585.11 | 390.14 | 540.16 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.21 | 44.68 | 29.17 | 44.91 | 29.26 | 44.79 | 1 | 1 | 26.05 | 25.58 | 25.9 | 25.28 | 27.64 | 27.43 | 27.43 | 281.15 | 174.02 | 396.32 | 261.59 | 184.02 | 275.03 | [24 empty] | 224.04 | 0.11 | 10.01 | 0.02 | 50 | 0.4 | 224.8 | 0 | 0 | 0 | 50 | 0 | [12 empty] | 1.75 | 22.01 | 69.84 | 911 | 212.03
2026-09-06 19:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.2 | 44.67 | 29.5 | 43.99 | 29.54 | 44.17 | 1 | 1 | [7 empty] | 503.24 | 615.38 | 733.71 | 585.06 | 389.98 | 540.78
2026-09-06 19:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.21 | 44.71 | 29.47 | 44.14 | 29.5 | 44.28 | 1 | 1 | [7 empty] | 503.48 | 615.83 | 733.77 | 585.19 | 389.95 | 540.62
2026-09-06 19:45:00 | 0.82 | 22.73 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.13 | 44.86 | 29.38 | 44.2 | 29.47 | 44.34 | 1 | 1 | [7 empty] | 503.52 | 616.16 | 733.91 | 585.18 | 389.97 | 541.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.19 | 49.44 | 28.33 | 49.21 | 28.34 | 49.07 | 1 | 1 | 25.35 | 24.92 | 25.36 | 24.81 | 27.43 | 27.41 | 27.28 | 309.31 | 316.41 | 617.59 | 422.54 | 452.66 | 591.45 | [24 empty] | 225.49 | 0.12 | 10.85 | 0.02 | 49.99 | 0.41 | [18 empty] | 4.44 | 21.47 | 70.07 | 912 | 156.7
2026-09-06 20:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 44.78 | 29.35 | 44.22 | 29.41 | 44.23 | 0.93 | 1 | [7 empty] | 503.62 | 616.14 | 734.05 | 585.32 | 390.01 | 540.76 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.13 | 47.63 | 29.37 | 47.25 | 29.31 | 47.37 | 1 | 1 | 25.58 | 25.07 | 25.43 | 24.85 | 27.57 | 27.55 | 27.35 | 269.44 | 265.72 | 523.91 | 353.41 | 452.8 | 492.93 | [24 empty] | 225.7 | 0.12 | 10.65 | 0.02 | 49.99 | 0.4 | 225.44 | 0.58 | 125.6 | 0.01 | 49.98 | 0.98 | [12 empty] | 4 | 21.34 | 70.53 | 912 | 170.97
2026-09-06 20:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.03 | 45.02 | 29.27 | 44.3 | 29.36 | 44.52 | 1 | 0.8 | [7 empty] | 282.49 | 350.77 | 419.69 | 325.15 | 218.56 | 306.31 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.43 | 46.21 | 29.69 | 45.77 | 29.6 | 46.05 | 1 | 1 | 25.59 | 25.07 | 25.39 | 24.79 | 27.59 | 27.51 | 27.34 | 65.24 | 63.76 | 124.62 | 107.73 | 0.2 | 119.07 | [24 empty] | 226.01 | 0.12 | 10.64 | 0.02 | 49.98 | 0.4 | 225.81 | 0.15 | 33.79 | 0.03 | 49.97 | 0.99 | [12 empty] | 4.05 | 21.37 | 70.54 | 912 | 165.27
2026-09-06 20:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.12 | 44.91 | 29.32 | 44.4 | 29.39 | 44.55 | 1 | 0.6 | [7 empty] | 276.09 | 339.18 | 402.72 | 319 | 214.39 | 299.93 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 45.15 | 29.81 | 44.72 | 29.62 | 45.17 | 1 | 1 | 25.33 | 25.14 | 25.15 | 24.9 | 27.53 | 27.46 | 27.21 | 91.37 | 87.29 | 170.76 | 167.16 |  | 163.03 | [24 empty] | 226.3 | 0.12 | 10.65 | 0.03 | 49.98 | 0.39 | 226.12 | 0.2 | 45.33 | 0.04 | 49.98 | 0.99 | [12 empty] | 1.66 | 21.67 | 69.84 | 912 | 209.91
2026-09-06 20:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.22 | 44.69 | 29.36 | 44.32 | 29.43 | 44.35 | 1 | 0.47 | [7 empty] | 68.31 | 83.71 | 99.55 | 78.65 | 53.21 | 74.03 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.44 | 44.72 | 29.79 | 44.17 | 29.58 | 44.85 | 1 | 1 | 25.27 | 25.26 | 25.09 | 24.96 | 27.44 | 27.37 | 27.18 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | [24 empty] | 226.73 | 0.12 | 10.48 | 0.03 | 49.99 | 0.39 | 226.57 | 0 | 0.06 | 0.04 | 49.99 | 0.07 | [12 empty] | 2.94 | 21.36 | 70.77 | 912 | 148.23
2026-09-06 21:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.21 | 44.65 | 29.37 | 44.24 | 29.44 | 44.31 | 1 | 0.33 | [7 empty] | 0.25 | 0.3 | 0.3 | 0.2 | 0.4 | 0.31 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.34 | 44.64 | 29.67 | 44.07 | 29.51 | 44.61 | 1 | 1 | 25.43 | 25.21 | 25.25 | 24.9 | 27.37 | 27.31 | 27.12 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | [24 empty] | 225.8 | 0.12 | 10.4 | 0.03 | 50 | 0.39 | 225.44 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 2.55 | 21.17 | 71.61 | 912 | 146.16
2026-09-06 21:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.19 | 44.6 | 29.39 | 44.16 | 29.43 | 44.29 | 1 | 0.47 | [7 empty] | 0.25 | 0.3 | 0.3 | 0.2 | 0.4 | 0.31 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.25 | 44.57 | 29.6 | 44.01 | 29.44 | 44.53 | 1 | 1 | 25.36 | 25.11 | 25.19 | 24.83 | 27.34 | 27.27 | 27.09 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | [24 empty] | 224.63 | 0.12 | 10.33 | 0.03 | 50 | 0.39 | 224.49 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 2.63 | 21.1 | 71.93 | 912 | 156.87
2026-09-06 21:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.21 | 44.64 | 29.38 | 44.14 | 29.37 | 44.36 | 1 | 0.2 | [7 empty] | 0.21 | 0.23 | 0.3 | 0.2 | 0.39 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.21 | 44.65 | 29.55 | 44.05 | 29.44 | 44.53 | 1 | 1 | 25.31 | 25.09 | 25.16 | 24.79 | 27.27 | 27.21 | 27.03 | 0.1 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | [24 empty] | 225.09 | 0.12 | 10.53 | 0.04 | 50 | 0.38 | 224.95 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.62 | 20.91 | 72.57 | 912 | 161.15
2026-09-06 21:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.16 | 44.66 | 29.33 | 44.17 | 29.3 | 44.43 | 0.93 | 0.13 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.17 | 44.75 | 29.51 | 44.07 | 29.39 | 44.55 | 1 | 1 | 25.27 | 24.99 | 25.09 | 24.73 | 27.27 | 27.15 | 26.96 | 0 | 0.2 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 225.15 | 0.12 | 10.39 | 0.04 | 49.98 | 0.38 | 225.05 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 2.03 | 20.87 | 72.96 | 912 | 118.49
2026-09-06 22:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.09 | 44.71 | 29.29 | 44.25 | 29.3 | 44.51 | 1 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.15 | 44.74 | 29.46 | 44.17 | 29.33 | 44.57 | 1 | 1 | 25.25 | 24.87 | 25.07 | 24.61 | 27.19 | 27.12 | 26.94 | 0 | 0.2 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 225.38 | 0.12 | 10.47 | 0.04 | 49.99 | 0.39 | 225.24 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 1.58 | 20.93 | 72.85 | 912 | 146.71
2026-09-06 22:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.08 | 44.79 | 29.25 | 44.32 | 29.24 | 44.6 | 1 | 0.27 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.14 | 44.79 | 29.41 | 44.27 | 29.27 | 44.67 | 1 | 1 | 25.09 | 24.91 | 24.94 | 24.62 | 27.17 | 27.11 | 26.93 | 0 | 0.15 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 225.64 | 0.12 | 10.45 | 0.04 | 49.99 | 0.38 | 225.51 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 2.8 | 20.87 | 73.19 | 912 | 157.08
2026-09-06 22:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.07 | 44.81 | 29.27 | 44.3 | 29.21 | 44.63 | 0.87 | 0.47 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.09 | 44.94 | 29.38 | 44.35 | 29.29 | 44.76 | 1 | 1 | 25.02 | 24.74 | 24.87 | 24.48 | 27.19 | 27.06 | 26.9 | 0 | 0.1 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 226.14 | 0.12 | 10.44 | 0.05 | 50 | 0.38 | 225.99 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 2.36 | 20.67 | 73.97 | 912 | 123.81
2026-09-06 22:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.01 | 44.91 | 29.22 | 44.39 | 29.23 | 44.71 | 1 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.05 | 45.08 | 29.32 | 44.5 | 29.23 | 44.85 | 1 | 1 | 24.9 | 24.48 | 24.77 | 24.24 | 27.11 | 26.99 | 26.83 | 0 | 0.1 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 226.95 | 0.12 | 10.54 | 0.05 | 50 | 0.38 | 226.83 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.52 | 20.53 | 74.53 | 912 | 111.08
2026-09-06 23:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.94 | 45.05 | 29.17 | 44.52 | 29.13 | 44.84 | 0.93 | 0.27 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.98 | 45.23 | 29.21 | 44.71 | 29.21 | 44.95 | 1 | 1 | 24.82 | 24.25 | 24.69 | 24.02 | 27.05 | 26.95 | 26.75 | 0 | 0.1 | 0.17 | 0.1 | 0.16 | 0.1 | [24 empty] | 227.29 | 0.12 | 10.59 | 0.05 | 50 | 0.38 | 227.17 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.24 | 20.35 | 75.17 | 912 | 93.32
2026-09-06 23:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.87 | 45.22 | 29.1 | 44.67 | 29.11 | 44.96 | 0.93 | 0.27 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.89 | 45.43 | 29.18 | 44.83 | 29.12 | 45.12 | 1 | 1 | 24.63 | 23.94 | 24.49 | 23.75 | 26.98 | 26.9 | 26.67 | 0 | 0.1 | 0.13 | 0.1 | 0.13 | 0.1 | [24 empty] | 227.46 | 0.12 | 10.51 | 0.05 | 50 | 0.38 | 227.33 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.46 | 20.13 | 75.79 | 912 | 91.51
2026-09-06 23:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.76 | 45.39 | 29.03 | 44.81 | 29.05 | 45.03 | 0.87 | 0.27 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.78 | 45.66 | 29.13 | 44.95 | 29.05 | 45.33 | 1 | 1 | 24.31 | 23.55 | 24.15 | 23.33 | 26.91 | 26.84 | 26.59 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.93 | 0.12 | 10.48 | 0.06 | 49.99 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.66 | 19.85 | 76.9 | 912 | 78.44
2026-09-06 23:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.66 | 45.61 | 28.97 | 44.87 | 29.01 | 45.11 | 0.93 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.72 | 45.84 | 29.1 | 45.06 | 28.96 | 45.5 | 1 | 1 | 24.06 | 23.27 | 23.92 | 23.04 | 26.82 | 26.81 | 26.49 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.58 | 0.12 | 10.4 | 0.06 | 49.99 | 0.38 | 224.48 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 5.41 | 19.65 | 77.63 | 912 | 75.59
2026-09-07 00:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.61 | 45.72 | 28.94 | 44.96 | 28.99 | 45.14 | 1 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.62 | 46.04 | 29.05 | 45.25 | 28.89 | 45.71 | 1 | 1 | 23.87 | 23.14 | 23.76 | 22.94 | 26.75 | 26.71 | 26.48 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.83 | 0.12 | 10.43 | 0.06 | 49.97 | 0.38 | 224.69 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 5.37 | 19.55 | 77.89 | 911.47 | 81.78
2026-09-07 00:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.57 | 45.79 | 28.87 | 45.05 | 28.96 | 45.17 | 1 | 0.47 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.56 | 46.22 | 28.95 | 45.36 | 28.81 | 45.77 | 1 | 1 | 23.71 | 23.05 | 23.64 | 22.81 | 26.71 | 26.65 | 26.4 | 0 | 0.1 | 0.11 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.05 | 0.12 | 10.52 | 0.06 | 49.97 | 0.38 | 224.94 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 5.89 | 19.4 | 78.49 | 911 | 69.91
2026-09-07 00:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.53 | 45.95 | 28.84 | 45.19 | 28.93 | 45.27 | 1 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.51 | 46.31 | 28.92 | 45.46 | 28.77 | 45.9 | 1 | 1 | 23.69 | 22.88 | 23.59 | 22.67 | 26.68 | 26.63 | 26.4 | 0 | 0.1 | 0.13 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.37 | 0.12 | 10.57 | 0.07 | 49.99 | 0.38 | 225.26 | 0 | 0 | 0.04 | 49.97 | 0 | [12 empty] | 6.21 | 19.29 | 78.88 | 911 | 77.64
2026-09-07 00:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.47 | 46.01 | 28.78 | 45.28 | 28.85 | 45.35 | 1 | 0.33 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.45 | 46.46 | 28.86 | 45.55 | 28.73 | 46.01 | 1 | 1 | 23.74 | 22.85 | 23.62 | 22.63 | 26.61 | 26.58 | 26.35 | 0 | 0.1 | 0.15 | 0.1 | 0.13 | 0.1 | [24 empty] | 225.65 | 0.12 | 10.59 | 0.07 | 49.98 | 0.38 | 225.56 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 5.23 | 19.17 | 79.29 | 911 | 80.84
2026-09-07 01:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.41 | 46.15 | 28.7 | 45.38 | 28.79 | 45.45 | 1 | 0.13 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.41 | 46.51 | 28.83 | 45.64 | 28.66 | 46.07 | 1 | 1 | 23.89 | 23 | 23.7 | 22.73 | 26.59 | 26.55 | 26.31 | 0 | 0.1 | 0.19 | 0.1 | 0.2 | 0.1 | [24 empty] | 225.73 | 0.12 | 10.49 | 0.07 | 49.95 | 0.38 | 225.63 | 0 | 0 | 0.04 | 49.95 | 0 | [12 empty] | 5.46 | 19.15 | 79.31 | 911 | 83.93
2026-09-07 01:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.38 | 46.19 | 28.69 | 45.45 | 28.75 | 45.55 | 0.93 | 0.2 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.41 | 46.6 | 28.79 | 45.73 | 28.66 | 46.17 | 1 | 1 | 23.9 | 23.21 | 23.76 | 22.94 | 26.55 | 26.53 | 26.29 | 0 | 0.1 | 0.19 | 0.1 | 0.18 | 0.1 | [24 empty] | 225.8 | 0.12 | 10.47 | 0.08 | 49.97 | 0.38 | 225.69 | 0 | 0 | 0.04 | 49.99 | 0 | [12 empty] | 5.21 | 19.23 | 79.01 | 911 | 77.83
2026-09-07 01:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.35 | 46.3 | 28.67 | 45.57 | 28.75 | 45.6 | 0.93 | 0.27 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.38 | 46.61 | 28.75 | 45.75 | 28.61 | 46.21 | 1 | 1 | 23.95 | 23.17 | 23.79 | 22.96 | 26.52 | 26.5 | 26.28 | 0 | 0.1 | 0.2 | 0.1 | 0.14 | 0.1 | [24 empty] | 225.99 | 0.12 | 10.44 | 0.08 | 49.97 | 0.38 | 225.89 | 0 | 0 | 0.04 | 49.97 | 0 | [12 empty] | 5.12 | 19.17 | 79.2 | 910.07 | 79.91
2026-09-07 01:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.33 | 46.29 | 28.65 | 45.59 | 28.72 | 45.59 | 1 | 0.4 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.35 | 46.69 | 28.69 | 45.79 | 28.59 | 46.28 | 1 | 1 | 23.79 | 22.91 | 23.64 | 22.67 | 26.47 | 26.49 | 26.19 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | [24 empty] | 226.14 | 0.12 | 10.45 | 0.08 | 49.97 | 0.38 | 226.03 | 0 | 0 | 0.04 | 49.98 | 0 | [12 empty] | 4.23 | 19.13 | 79.31 | 910 | 82.37

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-08-09 00:00:00 | To | 2026-09-07 23:59:59 | Data interval | 15 minute(s)
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0.99 | 1 | 375
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 23.02 | 30 | 375
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 375
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 375
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 0 | 38.57 | 55.5 | 564
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 0 | 0.26 | 2 | 564
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 0 | 42.95 | 67 | 564
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 0 | 62.3 | 176 | 564
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 0 | 48.19 | 78 | 564
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | -0.5 | -0.36 | 0 | 564
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | -0.5 | 36.42 | 61.5 | 564
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0.03 | 1 | 564
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0.01 | 1 | 564
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 564
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 564
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 963
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 28.3 | 30.13 | 32.3 | 873
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 39 | 45.72 | 51.7 | 873
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 28.6 | 30.24 | 32.2 | 871
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 39.3 | 45.38 | 52.2 | 871
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.6 | 30.18 | 31.9 | 872
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 40.1 | 45.76 | 53.2 | 872
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 1.18 | 3 | 870
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.94 | 3 | 872
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 28 | 30.95 | 33.1 | 383
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 28.3 | 30.88 | 32.7 | 383
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.9 | 30.3 | 31.8 | 383
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 28.1 | 30.11 | 31.9 | 383
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 27.9 | 30.26 | 31.6 | 383
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.3 | 29.95 | 30.7 | 383
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.7 | 29.59 | 30.3 | 383
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 135.38 | 551.7 | 871
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 169.25 | 709.6 | 871
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.2 | 210.57 | 811.9 | 869
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 165.13 | 643.8 | 872
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.3 | 158.06 | 1317.8 | 847
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 175.01 | 1874.9 | 873
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 1388
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 27 | 31.17 | 33.6 | 1349
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 29 | 46.36 | 51.6 | 1349
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 27.1 | 31.15 | 32.4 | 1341
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 29.7 | 46.25 | 51.6 | 1341
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 27.1 | 31.18 | 33.1 | 1345
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 29.8 | 46.57 | 51.5 | 1345
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1.86 | 20 | 1351
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1.72 | 38 | 1354
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 23.5 | 28.74 | 34.7 | 1388
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 22.8 | 28.69 | 34.2 | 1383
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 23.5 | 28.77 | 40.7 | 1388
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 22.5 | 28.24 | 31.3 | 1388
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.4 | 29.34 | 367.9 | 1387
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.4 | 28.98 | 39.6 | 1388
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.1 | 28.97 | 41.4 | 1388
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 204.02 | 854.1 | 1350
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 280.39 | 3026.7 | 1353
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 237.81 | 6272.9 | 1353
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 220.12 | 1000.4 | 1272
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 1422.25 | 32564.2 | 983
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 267.16 | 4470.5 | 1321
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 221.4 | 225.45 | 227.7 | 427
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.11 | 0.12 | 0.13 | 427
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.3 | 10.43 | 11.5 | 427
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 0.01 | 0.04 | 0.08 | 427
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.99 | 50 | 427
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.39 | 0.42 | 427
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 224.2 | 225.62 | 227.5 | 361
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0.04 | 1.21 | 361
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 8.16 | 254 | 361
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 0 | 0.04 | 0.04 | 361
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.99 | 50 | 361
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0.12 | 1 | 361
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 3
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 3
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 3
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 3
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 3
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 3.24 | 15.82 | 713
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 19 | 24.21 | 31.6 | 713
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 34.2 | 67.07 | 79.8 | 713
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 908 | 934.58 | 998 | 713
WS-MOD-01 | WS-DIR | Arah Angin | ° | 5.1 | 183.94 | 357.4 | 708

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.