## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-08 00:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.4 | 29.8 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.5 | 29.6 | 53 | 29.7 | 53.2 | 1 | 1 | 24.5 | 24.4 | 24.5 | 24.1 | 27.3 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.8 | 0.13 | 10.7 | 0.3 | 49.9 | 0.37 | 226.6 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 49.9 | 0 | 2.36 | 21.1 | 81.3 | 911 | 315.1
2026-09-08 00:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.3 | 29.8 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.6 | 53 | 29.8 | 53.2 | 1 | 1 | 24.5 | 24.3 | 24.4 | 24.1 | 27.3 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 81.3 | 911 | 322.2
2026-09-08 00:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.1 | 30.4 | 29.9 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.6 | 52.9 | 29.7 | 53.2 | 1 | 1 | 24.6 | 24.4 | 24.3 | 24 | 27.2 | 27.1 | 27.3 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.3 | 50 | 0.37 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 81.4 | 911 | 284.7
2026-09-08 00:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.6 | 52.9 | 29.8 | 53.1 | 1 | 1 | 24.6 | 24.3 | 24.4 | 24 | 27.3 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.14 | 49.9 | 0.4 | 226.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.13 | 10.7 | 0.3 | 50 | 0.37 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 50 | 1 | 2.13 | 21.1 | 81.9 | 911 | 304
2026-09-08 00:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.6 | 28.7 | 24.2 | 30.4 | 29.9 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.7 | 53 | 29.7 | 53.1 | 1 | 1 | 24.6 | 24.4 | 24.3 | 24 | 27.3 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 11 | 0.14 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11.1 | 0.3 | 50 | 0.37 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 2.37 | 21 | 81.7 | 911 | 300.4
2026-09-08 00:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.7 | 28.6 | 24.1 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.7 | 53 | 29.7 | 53.2 | 1 | 1 | 24.6 | 24.3 | 24.3 | 24 | 27.3 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.4 | 1.85 | 50 | 1 | 2.38 | 21 | 82.9 | 911 | 318.6
2026-09-08 00:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.7 | 24.1 | 30.4 | 29.8 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 52.5 | 29.6 | 53 | 29.7 | 53.2 | 1 | 1 | 24.4 | 24.2 | 24.4 | 24 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 1.63 | 20.9 | 81.5 | 911 | 326.5
2026-09-08 00:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.6 | 24.1 | 30.4 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.4 | 29.6 | 53 | 29.8 | 53.1 | 1 | 1 | 24.4 | 24.3 | 24.3 | 24 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11.1 | 0.3 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 21 | 82.9 | 911 | 324.7
2026-09-08 00:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.5 | 28.6 | 24.1 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.3 | 29.6 | 52.9 | 29.6 | 53.1 | 1 | 1 | 24.5 | 24.3 | 24.4 | 24 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.6 | 0.3 | 50 | 0.37 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.4 | 1.85 | 50 | 1 | 1.12 | 21.1 | 81.8 | 911 | 312.3
2026-09-08 00:09:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.5 | 24.1 | 30.2 | 29.7 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.2 | 29.7 | 52.9 | 29.7 | 53 | 1 | 1 | 24.5 | 24.2 | 24.4 | 23.9 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.14 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.13 | 10.8 | 0.3 | 49.9 | 0.37 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 2.36 | 21.1 | 81 | 911 | 299
2026-09-08 00:10:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.6 | 24 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.3 | 29.6 | 52.9 | 29.7 | 53.1 | 1 | 1 | 24.6 | 24.3 | 24.4 | 24 | 27.3 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 10.7 | 0.3 | 50 | 0.37 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 1.36 | 21 | 82.4 | 911 | 0.1
2026-09-08 00:11:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.5 | 28.7 | 24 | 30.4 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.2 | 29.6 | 52.8 | 29.6 | 53 | 1 | 1 | 24.5 | 24.2 | 24.4 | 24 | 27.4 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 11 | 0.3 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 0.63 | 21 | 82.1 | 911 | 260.1
2026-09-08 00:12:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.6 | 24 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 52.2 | 29.7 | 52.8 | 29.7 | 53.1 | 1 | 1 | 24.4 | 24.2 | 24.3 | 23.9 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.2 | 0.14 | 49.9 | 0.41 | 226.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227 | 0.13 | 10.6 | 0.3 | 49.9 | 0.37 | 226.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 0.64 | 21 | 81.9 | 911 | 295.8
2026-09-08 00:13:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.7 | 28.6 | 23.9 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.3 | 29.6 | 52.8 | 29.7 | 53.1 | 1 | 1 | 24.5 | 24.3 | 24.4 | 24 | 27.3 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 11.1 | 0.14 | 50 | 0.4 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11 | 0.3 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0 | 1.85 | 50 | 0 | 1.61 | 21.1 | 81.7 | 911 | 284.7
2026-09-08 00:14:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.6 | 24 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.1 | 29.5 | 52.8 | 29.6 | 53 | 1 | 1 | 24.4 | 24.2 | 24.4 | 23.9 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 11.2 | 0.14 | 50 | 0.41 | 226.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11 | 0.3 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0.4 | 1.85 | 50 | 1 | 1.61 | 21.1 | 81.2 | 911 | 279.2
2026-09-08 00:15:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.6 | 28.7 | 24.1 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 52.2 | 29.6 | 52.8 | 29.7 | 53 | 1 | 1 | 24.5 | 24.2 | 24.3 | 23.9 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 0.14 | 49.9 | 0.41 | 226.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227 | 0.13 | 10.7 | 0.3 | 50 | 0.37 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 0.16 | 21.2 | 81.1 | 911 | 231.2
2026-09-08 00:16:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.6 | 28.7 | 24 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.2 | 29.7 | 52.8 | 29.7 | 52.9 | 1 | 1 | 24.6 | 24.2 | 24.4 | 23.9 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 49.9 | 0 | 0.01 | 21.2 | 81.3 | 911 | 251.3
2026-09-08 00:17:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.6 | 28.7 | 24 | 30.3 | 29.9 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52.2 | 29.6 | 52.8 | 29.7 | 53 | 1 | 1 | 24.6 | 24.2 | 24.4 | 23.9 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 11 | 0.3 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.4 | 1.85 | 50 | 1 | 0.15 | 21.1 | 83.9 | 911 | 300.6
2026-09-08 00:18:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.6 | 28.7 | 24.1 | 30.4 | 29.8 | 29.1 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52 | 29.6 | 52.7 | 29.6 | 52.8 | 1 | 1 | 24.5 | 24.2 | 24.3 | 23.9 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.6 | 0.3 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 0.01 | 21.1 | 82.4 | 911 | 295.9
2026-09-08 00:19:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.1 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52 | 29.6 | 52.6 | 29.7 | 52.9 | 1 | 1 | 24.6 | 24.3 | 24.3 | 23.9 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.4 | 0.3 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 82.3 | 911 | 295.7
2026-09-08 00:20:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.6 | 28.6 | 24.1 | 30.4 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.9 | 29.6 | 52.6 | 29.7 | 52.8 | 1 | 1 | 24.6 | 24.2 | 24.5 | 24.1 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 1.38 | 21 | 82.4 | 911 | 287.4
2026-09-08 00:21:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.7 | 28.7 | 24.1 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.8 | 29.6 | 52.5 | 29.7 | 52.8 | 1 | 1 | 24.7 | 24.3 | 24.5 | 24 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.14 | 50 | 0.4 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.3 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 1.61 | 21.1 | 82.5 | 911 | 282.4
2026-09-08 00:22:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.6 | 28.8 | 24.1 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.9 | 29.6 | 52.5 | 29.7 | 52.9 | 1 | 1 | 24.6 | 24.2 | 24.5 | 24 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.4 | 0.12 | 10.9 | 0.14 | 49.9 | 0.4 | 226.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.5 | 0.12 | 10.5 | 0.31 | 49.9 | 0.38 | 226.4 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.2 | 0 | 0.4 | 1.85 | 49.9 | 1 | 1.88 | 21.2 | 81.9 | 911 | 308.9
2026-09-08 00:23:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.7 | 28.7 | 24.1 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 52 | 29.6 | 52.5 | 29.6 | 52.7 | 1 | 1 | 24.7 | 24.3 | 24.5 | 24 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.14 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.8 | 0.31 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 2.63 | 21.1 | 82.2 | 911 | 311.1
2026-09-08 00:24:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.1 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.9 | 29.6 | 52.6 | 29.7 | 52.9 | 1 | 1 | 24.6 | 24.3 | 24.5 | 24.1 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.7 | 0.31 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 82.3 | 911 | 330.5
2026-09-08 00:25:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.1 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.9 | 29.6 | 52.5 | 29.8 | 52.8 | 1 | 1 | 24.8 | 24.3 | 24.4 | 24.1 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 11 | 0.14 | 50 | 0.4 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.13 | 10.7 | 0.31 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 50 | 1 | 0.39 | 21.1 | 81.9 | 911 | 318.4
2026-09-08 00:26:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.7 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.8 | 29.6 | 52.4 | 29.7 | 52.7 | 1 | 1 | 24.7 | 24.4 | 24.4 | 24 | 27.2 | 27.1 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.5 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.6 | 0.12 | 10.4 | 0.31 | 49.9 | 0.37 | 226.4 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.3 | 0 | 0.5 | 1.85 | 49.9 | 1 | 0.4 | 21.1 | 81.9 | 911 | 308.8
2026-09-08 00:27:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.7 | 29.6 | 52.5 | 29.7 | 52.6 | 1 | 1 | 24.6 | 24.4 | 24.5 | 24.1 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.8 | 0.31 | 50 | 0.37 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 1.38 | 21.1 | 81.8 | 911 | 317.9
2026-09-08 00:28:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.1 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.8 | 29.6 | 52.3 | 29.6 | 52.6 | 1 | 1 | 24.6 | 24.4 | 24.5 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.12 | 10.3 | 0.31 | 50 | 0.37 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 0.63 | 21.2 | 81.8 | 911 | 112.3
2026-09-08 00:29:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.9 | 28.7 | 24.2 | 30.4 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.7 | 29.6 | 52.5 | 29.6 | 52.6 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.14 | 49.9 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 49.9 | 0 | 0.64 | 21.3 | 83.3 | 911 | 305
2026-09-08 00:30:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.8 | 24.2 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.7 | 29.6 | 52.6 | 29.6 | 52.5 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.14 | 50 | 0.41 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.7 | 0.12 | 10.4 | 0.31 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.4 | 0 | 0.4 | 1.85 | 50 | 1 | 1.37 | 21.3 | 83.2 | 911 | 325.8
2026-09-08 00:31:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.4 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.8 | 29.6 | 52.5 | 29.6 | 52.6 | 1 | 1 | 24.6 | 24.5 | 24.6 | 24.1 | 27.2 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 0.39 | 21.3 | 84 | 911 | 267.7
2026-09-08 00:32:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.8 | 29.5 | 52.4 | 29.6 | 52.5 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.1 | 27.2 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 0.39 | 21.4 | 83.5 | 911 | 321.7
2026-09-08 00:33:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.7 | 28.8 | 24.2 | 30.4 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.6 | 29.6 | 52.4 | 29.6 | 52.5 | 1 | 1 | 24.6 | 24.4 | 24.6 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.12 | 10.5 | 0.31 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 50 | 1 | 0.17 | 21.4 | 82.3 | 911 | 95
2026-09-08 00:34:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.3 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.7 | 29.6 | 52.3 | 29.6 | 52.5 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.1 | 27.1 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 10.8 | 0.31 | 50 | 0.37 | 226.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.5 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.3 | 82.7 | 911 | 296.9
2026-09-08 00:35:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.7 | 24.2 | 30.4 | 29.9 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.7 | 29.6 | 52.3 | 29.6 | 52.5 | 1 | 1 | 24.7 | 24.4 | 24.5 | 24.1 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 11.2 | 0.14 | 50 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.8 | 0.13 | 11 | 0.31 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.4 | 1.85 | 50 | 1 | 1.36 | 21.2 | 87.3 | 911 | 308.6
2026-09-08 00:36:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.3 | 30.3 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.6 | 29.6 | 52.2 | 29.5 | 52.4 | 1 | 1 | 24.8 | 24.4 | 24.6 | 24.1 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.9 | 0.14 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 87 | 911 | 273.9
2026-09-08 00:37:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.6 | 29.6 | 52.2 | 29.7 | 52.4 | 1 | 1 | 24.7 | 24.4 | 24.5 | 24.1 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 10.8 | 0.14 | 49.9 | 0.4 | 226.3 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.7 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 226.5 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.4 | 0 | 0 | 1.85 | 49.9 | 0 | 1.36 | 21 | 85.4 | 911 | 303.6
2026-09-08 00:38:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.8 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.6 | 29.6 | 52.2 | 29.6 | 52.4 | 1 | 1 | 24.7 | 24.4 | 24.6 | 24.2 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 10.8 | 0.14 | 50 | 0.4 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.12 | 10.7 | 0.31 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0 | 1.85 | 50 | 0 | 1.12 | 21 | 85.3 | 911 | 294.1
2026-09-08 00:39:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.9 | 28.8 | 24.2 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.7 | 29.6 | 52.1 | 29.5 | 52.2 | 1 | 1 | 24.7 | 24.4 | 24.5 | 24.1 | 27.3 | 27 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.14 | 50 | 0.41 | 226.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.9 | 0.12 | 10.5 | 0.31 | 50 | 0.38 | 226.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 50 | 0 | 0.01 | 21.1 | 84.5 | 911 | 271.3
2026-09-08 00:40:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 24.8 | 28.8 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.6 | 29.6 | 52.1 | 29.6 | 52.3 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.6 | 0.12 | 11.1 | 0.14 | 49.9 | 0.42 | 226.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.8 | 0.13 | 10.8 | 0.31 | 49.9 | 0.38 | 226.6 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.5 | 0 | 0.4 | 1.85 | 50 | 1 | 1.11 | 21.1 | 84.3 | 911 | 331.7
2026-09-08 00:41:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.3 | 30.3 | 29.6 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.3 | 29.5 | 52.1 | 29.6 | 52.3 | 1 | 1 | 24.8 | 24.5 | 24.6 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.12 | 10.6 | 0.31 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 1.12 | 21.1 | 83.7 | 911 | 332.3
2026-09-08 00:42:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.4 | 29.6 | 52.1 | 29.6 | 52.3 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.2 | 27.1 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.9 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11.2 | 0.31 | 50 | 0.38 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.8 | 0 | 0.4 | 1.85 | 50 | 1 | 3.35 | 21.2 | 83.1 | 911 | 315.9
2026-09-08 00:43:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.5 | 29.6 | 52.1 | 29.6 | 52.5 | 1 | 1 | 24.6 | 24.5 | 24.5 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.2 | 0.14 | 50 | 0.41 | 226.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 11.2 | 0.31 | 50 | 0.39 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 2.37 | 21.1 | 83.4 | 911 | 326.1
2026-09-08 00:44:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.3 | 29.8 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.4 | 29.6 | 52.1 | 29.7 | 52.3 | 1 | 1 | 24.8 | 24.4 | 24.5 | 24.3 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.7 | 0.12 | 10.9 | 0.14 | 49.9 | 0.41 | 226.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.12 | 10.6 | 0.31 | 49.9 | 0.38 | 226.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.6 | 0 | 0 | 1.85 | 49.9 | 0 | 1.13 | 21.1 | 84.4 | 911 | 309.1
2026-09-08 00:45:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.3 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.4 | 29.5 | 51.9 | 29.7 | 52.4 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 11.1 | 0.31 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0.4 | 1.85 | 50 | 1 | 1.37 | 21 | 84.4 | 911 | 310.3
2026-09-08 00:46:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30.1 | 24.7 | 28.9 | 24.2 | 30.2 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.5 | 29.5 | 52 | 29.5 | 52.3 | 1 | 1 | 24.8 | 24.4 | 24.6 | 24.2 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 0.14 | 50 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227 | 0.13 | 11 | 0.31 | 50 | 0.38 | 226.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0.5 | 1.85 | 50 | 1 | 1.62 | 21 | 83.8 | 911 | 282.3
2026-09-08 00:47:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.3 | 29.8 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.3 | 29.5 | 51.9 | 29.7 | 52.3 | 1 | 1 | 24.8 | 24.5 | 24.6 | 24.2 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11.1 | 0.14 | 49.9 | 0.41 | 226.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.1 | 0.13 | 11.2 | 0.31 | 49.9 | 0.39 | 226.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 50 | 0 | 0.61 | 21.1 | 83 | 911 | 261.7
2026-09-08 00:48:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.8 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.4 | 29.6 | 51.8 | 29.7 | 52.1 | 1 | 1 | 24.8 | 24.5 | 24.6 | 24.2 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 10.9 | 0.14 | 50 | 0.41 | 226.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 11 | 0.31 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0.4 | 1.85 | 50 | 1 | 1.37 | 21.2 | 82.2 | 911 | 287.8
2026-09-08 00:49:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.2 | 29.7 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.4 | 29.5 | 51.9 | 29.6 | 52.1 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.2 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 10.9 | 0.14 | 50 | 0.4 | 226.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 11.3 | 0.31 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0.4 | 1.85 | 50 | 1 | 0.63 | 21.3 | 82 | 911 | 259.1
2026-09-08 00:50:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.7 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.2 | 29.4 | 51.9 | 29.6 | 52 | 1 | 1 | 24.8 | 24.5 | 24.5 | 24.2 | 27.2 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 10.8 | 0.14 | 49.9 | 0.4 | 226.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.9 | 0.13 | 11 | 0.31 | 49.9 | 0.38 | 226.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 49.9 | 0 | 0.41 | 21.3 | 82.2 | 911 | 320.9
2026-09-08 00:51:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.7 | 24.3 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.2 | 29.5 | 51.8 | 29.7 | 52.1 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.3 | 27.2 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 226.8 | 0.12 | 11 | 0.14 | 49.9 | 0.4 | 226.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227 | 0.12 | 10.6 | 0.31 | 49.9 | 0.38 | 226.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.7 | 0 | 0 | 1.85 | 49.9 | 0 | 1.88 | 21.3 | 82.9 | 911 | 310
2026-09-08 00:52:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 30 | 24.8 | 28.7 | 24.2 | 30.3 | 29.7 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.9 | 51.2 | 29.6 | 51.8 | 29.6 | 51.9 | 1 | 1 | 24.7 | 24.5 | 24.6 | 24.3 | 27.2 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227 | 0.12 | 11 | 0.14 | 49.9 | 0.41 | 226.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.2 | 0.13 | 11 | 0.31 | 50 | 0.38 | 227 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.9 | 0 | 0 | 1.85 | 50 | 0 | 3.08 | 21.1 | 86.2 | 911 | 338.6
2026-09-08 00:53:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.8 | 28.7 | 24.2 | 30.2 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.6 | 51.8 | 29.6 | 51.9 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.2 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11.2 | 0.14 | 50 | 0.42 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.8 | 0.31 | 50 | 0.38 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 85.2 | 911 | 288.8
2026-09-08 00:54:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.3 | 29.7 | 29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.5 | 51.7 | 29.6 | 52 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.1 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 10.9 | 0.15 | 50 | 0.41 | 226.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.8 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0.4 | 1.85 | 50 | 1 | 0.88 | 21.1 | 85.6 | 911 | 273.5
2026-09-08 00:55:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.2 | 29.5 | 51.8 | 29.6 | 52 | 1 | 1 | 24.7 | 24.5 | 24.5 | 24.2 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 0.15 | 49.9 | 0.41 | 226.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.12 | 10.3 | 0.31 | 49.9 | 0.38 | 227.2 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 49.9 | 0 | 2.13 | 21.2 | 85.2 | 910 | 280.7
2026-09-08 00:56:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.8 | 28.7 | 24.1 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.5 | 51.7 | 29.5 | 51.9 | 1 | 1 | 24.6 | 24.5 | 24.5 | 24.1 | 27.1 | 27.1 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 0.15 | 50 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 11.1 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0.4 | 1.85 | 50 | 1 | 2.37 | 21.2 | 86.1 | 910 | 264.8
2026-09-08 00:57:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.9 | 24.7 | 28.7 | 24.2 | 30.3 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51 | 29.5 | 51.9 | 29.5 | 51.9 | 1 | 1 | 24.6 | 24.5 | 24.4 | 24.2 | 27.2 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11 | 0.15 | 50 | 0.4 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.3 | 0.13 | 10.9 | 0.31 | 49.9 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227 | 0 | 0 | 1.85 | 50 | 0 | 2.11 | 21.2 | 87.5 | 910 | 284.8
2026-09-08 00:58:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.8 | 28.6 | 24.2 | 30.2 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.2 | 29.5 | 51.7 | 29.5 | 51.9 | 1 | 1 | 24.5 | 24.5 | 24.4 | 24.2 | 27.2 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11.1 | 0.15 | 50 | 0.4 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.7 | 0.31 | 50 | 0.37 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.2 | 0 | 0 | 1.85 | 50 | 0 | 0.4 | 21.1 | 86.6 | 910 | 297.5
2026-09-08 00:59:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.8 | 28.6 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.5 | 51.8 | 29.6 | 51.9 | 1 | 1 | 24.5 | 24.5 | 24.3 | 24.1 | 27.2 | 26.9 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 10.9 | 0.15 | 50 | 0.41 | 226.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 2.6 | 21 | 87.2 | 910 | 248.9
2026-09-08 01:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.8 | 24.8 | 28.5 | 24.1 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.5 | 51.6 | 29.6 | 51.8 | 1 | 1 | 24.5 | 24.5 | 24.4 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 0.15 | 50 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 2.11 | 21 | 87.3 | 910 | 238.8
2026-09-08 01:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.6 | 28.5 | 24.2 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51 | 29.5 | 51.7 | 29.5 | 51.9 | 1 | 1 | 24.5 | 24.5 | 24.2 | 24.2 | 27.2 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 10.8 | 0.15 | 49.9 | 0.4 | 226.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.3 | 0.13 | 10.8 | 0.31 | 50 | 0.37 | 227.1 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227 | 0 | 0 | 1.85 | 50 | 0 | 1.88 | 21 | 85.9 | 910 | 317.5
2026-09-08 01:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.7 | 28.5 | 24.2 | 30.3 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.6 | 51.7 | 29.6 | 51.8 | 1 | 1 | 24.5 | 24.5 | 24.4 | 24.2 | 27.1 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11.1 | 0.15 | 50 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 11 | 0.31 | 50 | 0.38 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 86.8 | 910 | 223
2026-09-08 01:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.5 | 24.2 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.1 | 29.6 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.4 | 24.5 | 24.3 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.4 | 0.13 | 11 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 49.9 | 0 | 1.61 | 21 | 84.7 | 910 | 260.4
2026-09-08 01:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.8 | 28.5 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.5 | 51.7 | 29.6 | 51.8 | 1 | 1 | 24.4 | 24.4 | 24.2 | 24.2 | 27.1 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 10.9 | 0.15 | 49.9 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.9 | 0.31 | 50 | 0.38 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.2 | 0 | 0 | 1.85 | 50 | 0 | 3.6 | 21.1 | 85.6 | 910 | 311.4
2026-09-08 01:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.5 | 24.2 | 30.2 | 29.8 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51 | 29.5 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.5 | 24.5 | 24.2 | 24.2 | 27 | 26.9 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11 | 0.15 | 50 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.8 | 0.31 | 50 | 0.38 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 1.87 | 21.1 | 85.6 | 910 | 275.7
2026-09-08 01:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.5 | 24 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.1 | 29.6 | 51.8 | 29.6 | 51.7 | 1 | 1 | 24.4 | 24.4 | 24.3 | 24.1 | 27.1 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 0.15 | 49.9 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.9 | 0.31 | 49.9 | 0.38 | 227.2 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0.5 | 1.85 | 49.9 | 1 | 2.37 | 21.1 | 86.1 | 910 | 301.5
2026-09-08 01:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.6 | 28.4 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.8 | 51.3 | 29.6 | 51.8 | 29.6 | 51.8 | 1 | 1 | 24.4 | 24.4 | 24.2 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11 | 0.15 | 49.9 | 0.41 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 11 | 0.31 | 50 | 0.38 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 1.6 | 21 | 86.2 | 910 | 316.6
2026-09-08 01:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.5 | 24.2 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.1 | 29.5 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.4 | 24.4 | 24.1 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.1 | 0.12 | 10.9 | 0.15 | 49.9 | 0.4 | 226.8 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.2 | 0.13 | 10.9 | 0.31 | 49.9 | 0.37 | 227 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 226.9 | 0 | 0 | 1.85 | 49.9 | 0 | 0.63 | 21.1 | 86.4 | 910 | 278.7
2026-09-08 01:09:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.4 | 24 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.2 | 29.5 | 51.7 | 29.6 | 51.8 | 1 | 1 | 24.4 | 24.4 | 24.2 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.1 | 0.12 | 11 | 0.15 | 49.9 | 0.41 | 226.9 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.4 | 0.13 | 10.9 | 0.31 | 49.9 | 0.38 | 227.1 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 49.9 | 0 | 1.89 | 21.1 | 85.8 | 910 | 335.5
2026-09-08 01:10:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.6 | 28.5 | 24.1 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.2 | 29.6 | 51.7 | 29.4 | 51.7 | 1 | 1 | 24.3 | 24.3 | 24.3 | 24.1 | 27.1 | 27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 11 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.6 | 0.13 | 10.8 | 0.31 | 50 | 0.38 | 227.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.3 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.1 | 85.9 | 910 | 325.5
2026-09-08 01:11:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.5 | 24.6 | 28.4 | 24 | 30.2 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.3 | 29.5 | 51.8 | 29.5 | 51.7 | 1 | 1 | 24.4 | 24.4 | 24.1 | 24.1 | 27.1 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.8 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.7 | 0.31 | 50 | 0.37 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.2 | 0 | 0.4 | 1.85 | 50 | 1 | 1.37 | 21 | 85.9 | 910 | 314
2026-09-08 01:12:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.4 | 24 | 30.3 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.3 | 29.5 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.3 | 24.4 | 24.2 | 24.2 | 27 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.9 | 0.15 | 49.9 | 0.4 | 227.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.5 | 0.13 | 10.9 | 0.31 | 49.9 | 0.38 | 227.3 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.2 | 0 | 0.4 | 1.85 | 49.9 | 1 | 2.61 | 20.9 | 84.8 | 910 | 317.1
2026-09-08 01:13:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.5 | 24.6 | 28.4 | 24.1 | 30.2 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.3 | 29.5 | 51.7 | 29.6 | 51.7 | 1 | 1 | 24.4 | 24.4 | 24.1 | 24 | 27 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 10.9 | 0.15 | 49.9 | 0.4 | 227 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.4 | 0.13 | 10.9 | 0.31 | 49.9 | 0.37 | 227.2 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 49.9 | 0 | 3.1 | 20.8 | 85.2 | 910 | 311.7
2026-09-08 01:14:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.4 | 24 | 30.2 | 29.6 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.4 | 29.5 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.3 | 24.4 | 24.2 | 24.1 | 27.1 | 27.1 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 10.9 | 0.15 | 49.9 | 0.4 | 227 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.4 | 0.13 | 10.8 | 0.31 | 49.9 | 0.37 | 227.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.1 | 0 | 0 | 1.85 | 50 | 0 | 2.37 | 20.8 | 84.7 | 910 | 302.6
2026-09-08 01:15:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.6 | 28.3 | 24.1 | 30.2 | 29.7 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.4 | 29.6 | 51.9 | 29.5 | 51.9 | 1 | 1 | 24.3 | 24.4 | 24.2 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.12 | 10.3 | 0.31 | 50 | 0.37 | 227.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.3 | 0 | 0 | 1.85 | 50 | 0 | 2.12 | 20.8 | 86.2 | 910 | 287.2
2026-09-08 01:16:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.4 | 24.2 | 30.1 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.4 | 29.4 | 51.9 | 29.5 | 51.8 | 1 | 1 | 24.3 | 24.4 | 24.2 | 24.2 | 27.1 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.5 | 0.13 | 10.9 | 0.31 | 50 | 0.37 | 227.3 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.2 | 0 | 0 | 1.85 | 49.9 | 0 | 2.62 | 20.8 | 85.9 | 910 | 311.8
2026-09-08 01:17:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.5 | 24 | 30.2 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.4 | 29.5 | 51.8 | 29.5 | 51.8 | 1 | 1 | 24.4 | 24.4 | 24.2 | 24.1 | 27.1 | 26.9 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.2 | 0.12 | 11 | 0.15 | 50 | 0.4 | 227 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 227.4 | 0.13 | 10.7 | 0.31 | 50 | 0.37 | 227.2 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 227.1 | 0 | 0.4 | 1.85 | 49.9 | 1 | 1.61 | 20.8 | 86.2 | 910 | 277.2
2026-09-08 01:18:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.7 | 28.6 | 24.1 | 30.2 | 29.7 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.5 | 29.5 | 51.7 | 29.5 | 51.7 | 1 | 1 | 24.3 | 24.4 | 24.1 | 24.1 | 27.1 | 26.9 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 11 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.8 | 0.32 | 50 | 0.37 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.2 | 0 | 0.4 | 1.85 | 50 | 1 | 0.39 | 20.8 | 88.4 | 910 | 262.4
2026-09-08 01:19:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.6 | 28.5 | 24.1 | 30.3 | 29.6 | 28.9 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.5 | 29.5 | 51.9 | 29.5 | 52 | 1 | 1 | 24.4 | 24.4 | 24.2 | 24.1 | 27.2 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.6 | 0.13 | 11.1 | 0.32 | 50 | 0.37 | 227.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.3 | 0 | 0 | 1.85 | 50 | 0 | 1.88 | 20.8 | 86.7 | 910 | 318.4
2026-09-08 01:20:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.5 | 24.7 | 28.5 | 24 | 30.2 | 29.7 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.7 | 51.6 | 29.5 | 51.9 | 29.5 | 51.9 | 1 | 1 | 24.4 | 24.4 | 24.3 | 24.1 | 27.1 | 27 | 27 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.4 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.9 | 0.32 | 50 | 0.37 | 227.4 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.3 | 0 | 0 | 1.85 | 50 | 0 | 1.61 | 20.8 | 86.5 | 910 | 286.3
2026-09-08 01:21:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.6 | 24.6 | 28.5 | 24.1 | 30.2 | 29.6 | 28.8 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 51.5 | 29.6 | 51.9 | 29.5 | 51.9 | 1 | 1 | 24.3 | 24.5 | 24.2 | 24.1 | 27.1 | 27 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 227.3 | 0.12 | 10.9 | 0.15 | 50 | 0.4 | 227.1 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 227.5 | 0.13 | 10.9 | 0.32 | 50 | 0.37 | 227.3 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 227.3 | 0 | 0.4 | 1.85 | 50 | 1 | 2.37 | 20.9 | 85.8 | 910 | 272.5

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-08 00:00:00 | To | 2026-09-08 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 82
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 82
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 82
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 82
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 82
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.5 | 29.84 | 30.1 | 82
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 24.5 | 24.71 | 24.9 | 82
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.3 | 28.64 | 28.9 | 82
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 23.9 | 24.14 | 24.3 | 82
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.1 | 30.29 | 30.4 | 82
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.6 | 29.74 | 29.9 | 82
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.8 | 28.95 | 29.1 | 82
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 82
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.6 | 29.81 | 29.9 | 82
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 51 | 51.64 | 52.5 | 82
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 29.4 | 29.57 | 29.7 | 82
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 51.6 | 52.23 | 53 | 82
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 29.4 | 29.61 | 29.8 | 82
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 51.7 | 52.38 | 53.2 | 82
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 82
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 82
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.3 | 24.57 | 24.8 | 82
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.2 | 24.39 | 24.5 | 82
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 24.1 | 24.4 | 24.6 | 82
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 23.9 | 24.1 | 24.3 | 82
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 27 | 27.17 | 27.4 | 82
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.9 | 27.03 | 27.1 | 82
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.9 | 27.09 | 27.3 | 82
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 82
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 82
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.1 | 0.1 | 82
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 82
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 82
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 82
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 226.4 | 226.94 | 227.4 | 82
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.12 | 0.12 | 0.12 | 82
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.8 | 10.97 | 11.2 | 82
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 0.14 | 0.14 | 0.15 | 82
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.97 | 50 | 82
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.4 | 0.41 | 0.42 | 82
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 226.1 | 226.68 | 227.1 | 82
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 82
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 82
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 82
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.98 | 50 | 82
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 82
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 226.5 | 227.1 | 227.6 | 82
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.12 | 0.13 | 0.13 | 82
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 10.3 | 10.83 | 11.3 | 82
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 0.3 | 0.31 | 0.32 | 82
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 82
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.38 | 0.39 | 82
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 226.4 | 226.92 | 227.4 | 82
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 82
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 82
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 0.05 | 0.05 | 0.05 | 82
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 82
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 82
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 226.2 | 226.81 | 227.3 | 82
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 82
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.13 | 0.5 | 82
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 1.85 | 1.85 | 1.85 | 82
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 82
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.3 | 1 | 82
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 1.5 | 3.6 | 82
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 20.8 | 21.08 | 21.4 | 82
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 81 | 83.99 | 88.4 | 82
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910.67 | 911 | 82
WS-MOD-01 | WS-DIR | Arah Angin | ° | 0.1 | 287.98 | 338.6 | 82

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.