## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow Temperature 1 [°C] | MB-L3-01 · L3-HFT-02 - Heat Flow Temperature 2 [°C] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow Temperature 1 [°C] | MB-L5-01 · L5-HFT-02 - Heat Flow Temperature 2 [°C] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-09-17 00:00:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.8 | 28.7 | 51.3 | 28.6 | 51.4 | 1 | 1 | 29.9 | 25 | 28.5 | 24.4 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.5 | 28.4 | 56.8 | 28.8 | 55.7 | 1 | 1 | 24.5 | 24.7 | 26 | 24.3 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 227.3 | 0.12 | 11 | 2.5 | 50 | 0.41 | 226.9 | 0 | 0 | 0.29 | 50 | 0 | 227.2 | 0.12 | 10.8 | 2.55 | 50 | 0.39 | 227.3 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.2 | 0 | 0 | 4.93 | 50 | 0 | 0.39 | 21.2 | 89.6 | 911 | 217.3
2026-09-17 00:01:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.6 | 51.4 | 28.7 | 51.5 | 1 | 1 | 29.9 | 25 | 28.5 | 24.3 | 30.3 | 29.7 | 28.9 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.5 | 28.4 | 56.8 | 28.8 | 55.6 | 1 | 1 | 24.6 | 24.6 | 26 | 24.4 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 226.9 | 0.12 | 11 | 2.5 | 49.9 | 0.41 | 226.7 | 0 | 0 | 0.29 | 49.9 | 0 | 227.1 | 0.12 | 10.6 | 2.55 | 49.9 | 0.39 | 226.9 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.8 | 0 | 0 | 4.93 | 49.9 | 0 | 1.13 | 21.3 | 89.5 | 911 | 214.5
2026-09-17 00:02:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.6 | 51.4 | 28.6 | 51.4 | 1 | 0 | 29.9 | 24.9 | 28.5 | 24.4 | 30.3 | 29.7 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.4 | 24.5 | 25.8 | 24.3 | 26.5 | 26.4 | 26.5 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 227.2 | 0.12 | 10.9 | 2.5 | 50 | 0.4 | 226.9 | 0 | 0 | 0.29 | 50 | 0 | 227.2 | 0.12 | 10.6 | 2.55 | 50 | 0.39 | 227.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.1 | 0 | 0.4 | 4.93 | 50 | 1 | 0.16 | 21.3 | 88.9 | 911 | 181.3
2026-09-17 00:03:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.8 | 28.6 | 51.5 | 28.7 | 51.4 | 1 | 0 | 30 | 24.9 | 28.6 | 24.4 | 30.2 | 29.6 | 28.9 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.4 | 56.8 | 28.8 | 55.8 | 1 | 1 | 24.5 | 24.5 | 25.9 | 24.3 | 26.5 | 26.5 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 227.3 | 0.12 | 11.1 | 2.5 | 50 | 0.42 | 227 | 0 | 0 | 0.29 | 50 | 0 | 227.4 | 0.12 | 10.5 | 2.55 | 50 | 0.39 | 227.4 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 227.3 | 0 | 0.4 | 4.93 | 50 | 1 | 2.84 | 21.3 | 89 | 911 | 243.5
2026-09-17 00:04:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.6 | 51.4 | 28.7 | 51.3 | 1 | 0 | 29.9 | 25 | 28.5 | 24.3 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.5 | 28.5 | 56.8 | 28.8 | 55.7 | 1 | 1 | 24.4 | 24.6 | 26 | 24.3 | 26.5 | 26.4 | 26.3 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.12 | 10.9 | 2.5 | 50 | 0.42 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.6 | 0.12 | 10.6 | 2.55 | 50 | 0.39 | 224.6 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 4.93 | 50 | 0 | 1.36 | 21.3 | 89 | 910 | 284
2026-09-17 00:05:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.5 | 51.4 | 28.7 | 51.4 | 1 | 1 | 29.9 | 25 | 28.6 | 24.3 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.5 | 24.6 | 25.9 | 24.3 | 26.5 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.4 | 0.12 | 11 | 2.5 | 50 | 0.42 | 224.1 | 0 | 0 | 0.29 | 50 | 0 | 224.5 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 224.4 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 4.93 | 50 | 0 | 1.36 | 21.3 | 88.9 | 910 | 211.7
2026-09-17 00:06:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.6 | 51.3 | 28.6 | 51.3 | 1 | 0 | 29.9 | 25 | 28.5 | 24.3 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.6 | 28.3 | 57 | 28.8 | 55.6 | 1 | 1 | 24.4 | 24.6 | 25.9 | 24.4 | 26.4 | 26.5 | 26.3 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.3 | 0.12 | 10.7 | 2.5 | 49.9 | 0.41 | 224.1 | 0 | 0 | 0.29 | 49.9 | 0 | 224.4 | 0.12 | 10.3 | 2.55 | 49.9 | 0.39 | 224.4 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 4.93 | 49.9 | 0 | 1.37 | 21.3 | 88.8 | 910 | 246.5
2026-09-17 00:07:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.7 | 51.3 | 28.7 | 51.3 | 1 | 1 | 29.9 | 25 | 28.5 | 24.4 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57 | 28.7 | 55.7 | 1 | 1 | 24.4 | 24.6 | 26 | 24.4 | 26.5 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.12 | 10.9 | 2.5 | 50 | 0.42 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.6 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 224.6 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 4.93 | 50 | 0 | 1.12 | 21.3 | 88.4 | 910 | 338.4
2026-09-17 00:08:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.6 | 51.3 | 28.7 | 51.4 | 1 | 0 | 30 | 25 | 28.5 | 24.4 | 30.3 | 29.7 | 28.9 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.5 | 24.6 | 26 | 24.2 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.7 | 0.12 | 10.9 | 2.5 | 50 | 0.42 | 224.4 | 0 | 0 | 0.29 | 50 | 0 | 224.7 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 224.7 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 4.93 | 50 | 0 | 0.01 | 21.3 | 88.3 | 910 | 279.1
2026-09-17 00:09:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.6 | 51.3 | 28.7 | 51.3 | 1 | 1 | 29.9 | 25 | 28.5 | 24.3 | 30.3 | 29.7 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.5 | 24.5 | 26 | 24.3 | 26.5 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.12 | 11 | 2.5 | 50 | 0.42 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.7 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 224.7 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 4.93 | 50 | 0 | 1.61 | 21.3 | 87.9 | 910 | 232.1
2026-09-17 00:10:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.6 | 51.4 | 28.7 | 51.5 | 1 | 0 | 29.9 | 24.9 | 28.6 | 24.3 | 30.2 | 29.7 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.5 | 56.9 | 28.9 | 55.8 | 1 | 1 | 24.5 | 24.6 | 26 | 24.4 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.12 | 10.9 | 2.5 | 50 | 0.42 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.6 | 0.12 | 10.4 | 2.55 | 50 | 0.4 | 224.6 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 4.93 | 50 | 0 | 1.12 | 21.3 | 88.1 | 910 | 195.9
2026-09-17 00:11:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.5 | 51.4 | 28.7 | 51.4 | 1 | 1 | 29.9 | 25 | 28.6 | 24.3 | 30.3 | 29.7 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.3 | 56.8 | 28.8 | 55.6 | 1 | 1 | 24.4 | 24.6 | 26 | 24.3 | 26.5 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.5 | 0.12 | 10.8 | 2.5 | 49.9 | 0.41 | 224.2 | 0 | 0 | 0.29 | 50 | 0 | 224.5 | 0.12 | 10.6 | 2.55 | 49.9 | 0.4 | 224.5 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 4.93 | 50 | 0 | 1.61 | 21.4 | 87.7 | 910 | 228.4
2026-09-17 00:12:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 50.9 | 28.5 | 51.4 | 28.7 | 51.4 | 1 | 0 | 29.9 | 24.9 | 28.6 | 24.3 | 30.1 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57.1 | 28.8 | 55.6 | 1 | 1 | 24.5 | 24.6 | 25.9 | 24.3 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.5 | 0.12 | 10.9 | 2.5 | 50 | 0.41 | 224.2 | 0 | 0 | 0.29 | 50 | 0 | 224.5 | 0.12 | 10.4 | 2.55 | 50 | 0.39 | 224.5 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 4.93 | 50 | 0 | 0.86 | 21.4 | 88.3 | 910 | 180.7
2026-09-17 00:13:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51 | 28.6 | 51.5 | 28.6 | 51.7 | 1 | 0 | 29.9 | 25 | 28.6 | 24.3 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.5 | 24.6 | 26 | 24.2 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.7 | 0.12 | 11 | 2.51 | 50 | 0.42 | 224.4 | 0 | 0 | 0.29 | 50 | 0 | 224.7 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 224.7 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0.4 | 4.93 | 50 | 1 | 1.12 | 21.4 | 88.5 | 910 | 264.1
2026-09-17 00:14:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51 | 28.6 | 51.5 | 28.6 | 51.4 | 1 | 0 | 29.9 | 24.9 | 28.6 | 24.3 | 30.2 | 29.6 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.4 | 57.1 | 28.8 | 55.6 | 1 | 1 | 24.6 | 24.5 | 25.9 | 24.3 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.7 | 0.12 | 11.1 | 2.51 | 50 | 0.42 | 224.5 | 0 | 0 | 0.29 | 50 | 0 | 224.8 | 0.12 | 10.6 | 2.55 | 50 | 0.39 | 224.7 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 4.93 | 50 | 0 | 1.88 | 21.4 | 88.7 | 910 | 227.1
2026-09-17 00:15:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.6 | 51.4 | 28.6 | 51.4 | 1 | 0 | 30 | 25 | 28.6 | 24.4 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.6 | 28.5 | 57 | 28.9 | 55.7 | 1 | 1 | 24.5 | 24.6 | 26 | 24.3 | 26.5 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.11 | 11 | 2.51 | 50 | 0.43 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.6 | 0.11 | 10.1 | 2.55 | 50 | 0.4 | 224.6 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 4.93 | 50 | 0 | 1.37 | 21.4 | 88.7 | 910 | 225
2026-09-17 00:16:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.1 | 28.5 | 51.5 | 28.7 | 51.5 | 1 | 1 | 30 | 24.9 | 28.7 | 24.4 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57 | 28.8 | 55.6 | 1 | 1 | 24.6 | 24.6 | 26.1 | 24.3 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.6 | 0.12 | 11 | 2.51 | 50 | 0.42 | 224.3 | 0 | 0 | 0.29 | 50 | 0 | 224.6 | 0.12 | 10.6 | 2.55 | 49.9 | 0.4 | 224.6 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 4.93 | 50 | 0 | 0.9 | 21.5 | 88.1 | 910 | 332.7
2026-09-17 00:17:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.6 | 51.4 | 28.6 | 51.5 | 1 | 1 | 30 | 24.9 | 28.6 | 24.5 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.4 | 24.5 | 25.9 | 24.3 | 26.5 | 26.4 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 224.9 | 0.12 | 11 | 2.51 | 50 | 0.42 | 224.7 | 0 | 0 | 0.29 | 50 | 0 | 225 | 0.12 | 10.3 | 2.55 | 50 | 0.4 | 225 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0.4 | 4.93 | 50 | 1 | 2.13 | 21.5 | 88.2 | 910 | 266
2026-09-17 00:18:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.2 | 28.6 | 51.5 | 28.6 | 51.5 | 1 | 0 | 29.9 | 25 | 28.6 | 24.4 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.4 | 28.3 | 56.9 | 28.8 | 55.8 | 1 | 1 | 24.6 | 24.5 | 26 | 24.3 | 26.5 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 225 | 0.12 | 10.8 | 2.51 | 50 | 0.41 | 224.7 | 0 | 0 | 0.29 | 50 | 0 | 225 | 0.12 | 10.6 | 2.55 | 50 | 0.4 | 225 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0.4 | 4.93 | 50 | 1 | 0.02 | 21.4 | 87.9 | 910 | 356.5
2026-09-17 00:19:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.8 | 51 | 28.5 | 51.6 | 28.6 | 51.5 | 1 | 0 | 29.9 | 24.9 | 28.6 | 24.4 | 30.2 | 29.6 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.6 | 26 | 24.3 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 225 | 0.12 | 10.9 | 2.51 | 50 | 0.42 | 224.6 | 0 | 0 | 0.29 | 50 | 0 | 224.9 | 0.12 | 10.5 | 2.55 | 50 | 0.4 | 224.9 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 4.93 | 50 | 0 | 1.37 | 21.5 | 87.7 | 910 | 158.3
2026-09-17 00:20:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.1 | 28.6 | 51.5 | 28.5 | 51.4 | 0 | 0 | 30.1 | 25 | 28.6 | 24.4 | 30.3 | 29.7 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.3 | 28.4 | 57 | 28.9 | 55.6 | 1 | 1 | 24.4 | 24.5 | 26 | 24.2 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 224.9 | 0.12 | 10.9 | 2.51 | 50 | 0.42 | 224.6 | 0 | 0 | 0.29 | 50 | 0 | 224.9 | 0.12 | 10.5 | 2.55 | 50 | 0.4 | 224.9 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 4.93 | 50 | 0 | 1.61 | 21.3 | 87.9 | 910 | 176
2026-09-17 00:21:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51 | 28.5 | 51.5 | 28.6 | 51.3 | 1 | 1 | 30 | 25 | 28.6 | 24.4 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.6 | 26 | 24.4 | 26.5 | 26.4 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225 | 0.12 | 10.9 | 2.51 | 50 | 0.41 | 224.7 | 0 | 0 | 0.29 | 50 | 0 | 225 | 0.12 | 10.6 | 2.55 | 50 | 0.39 | 225 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0.4 | 4.93 | 50 | 1 | 0.63 | 21.3 | 88.1 | 910 | 174.5
2026-09-17 00:22:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.8 | 51.1 | 28.5 | 51.5 | 28.7 | 51.6 | 1 | 1 | 30 | 25 | 28.6 | 24.3 | 30.3 | 29.6 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29 | 55.5 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.6 | 26 | 24.3 | 26.5 | 26.4 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.1 | 0.12 | 11 | 2.51 | 50 | 0.41 | 224.8 | 0 | 0 | 0.29 | 50 | 0 | 225.1 | 0.12 | 10.6 | 2.56 | 50 | 0.4 | 225.1 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0.4 | 4.93 | 50 | 1 | 1.62 | 21.2 | 88.5 | 910 | 164.1
2026-09-17 00:23:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.1 | 28.5 | 51.4 | 28.6 | 51.6 | 1 | 0 | 30 | 25 | 28.7 | 24.4 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 55.2 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.5 | 26.1 | 24.3 | 26.4 | 26.4 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.1 | 0.12 | 11 | 2.51 | 50 | 0.41 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.4 | 2.56 | 50 | 0.39 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0.4 | 4.93 | 50 | 1 | 2.6 | 21.2 | 88.6 | 910 | 128.7
2026-09-17 00:24:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.3 | 28.6 | 51.5 | 28.6 | 51.5 | 1 | 1 | 30.1 | 24.9 | 28.7 | 24.4 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.3 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.6 | 26.1 | 24.3 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 224.9 | 0.12 | 10.8 | 2.51 | 49.9 | 0.41 | 224.7 | 0 | 0 | 0.29 | 49.9 | 0 | 225 | 0.12 | 10.5 | 2.56 | 49.9 | 0.39 | 225 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 4.93 | 49.9 | 0 | 0.02 | 21.1 | 88.7 | 910 | 175.6
2026-09-17 00:25:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.2 | 28.6 | 51.6 | 28.7 | 51.7 | 1 | 1 | 30 | 25 | 28.8 | 24.4 | 30.2 | 29.6 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.5 | 57 | 28.8 | 55.7 | 1 | 1 | 24.8 | 24.6 | 26 | 24.2 | 26.5 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225 | 0.12 | 10.9 | 2.51 | 49.9 | 0.41 | 224.7 | 0 | 0 | 0.29 | 49.9 | 0 | 225 | 0.12 | 10.4 | 2.56 | 49.9 | 0.39 | 225 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 4.93 | 49.9 | 0 | 0.16 | 21.1 | 88.7 | 910 | 167
2026-09-17 00:26:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.1 | 28.6 | 51.6 | 28.7 | 51.5 | 1 | 0 | 30 | 25 | 28.7 | 24.4 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.4 | 57 | 28.8 | 55.6 | 1 | 1 | 24.7 | 24.6 | 26 | 24.3 | 26.5 | 26.5 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.9 | 2.51 | 50 | 0.41 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.3 | 0.12 | 10.6 | 2.56 | 50 | 0.4 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 4.93 | 50 | 0 | 0.02 | 21.2 | 88.5 | 910 | 204.7
2026-09-17 00:27:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.2 | 28.5 | 51.4 | 28.6 | 51.6 | 1 | 0 | 30.1 | 25 | 28.8 | 24.4 | 30.3 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.3 | 57 | 28.8 | 55.6 | 1 | 1 | 24.7 | 24.6 | 26.1 | 24.3 | 26.5 | 26.4 | 26.5 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.3 | 0.12 | 10.9 | 2.51 | 50 | 0.41 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.3 | 0.12 | 10.5 | 2.56 | 50 | 0.39 | 225.3 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0 | 4.93 | 50 | 0 | 1.38 | 21.2 | 87.4 | 910 | 154
2026-09-17 00:28:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.2 | 28.6 | 51.5 | 28.7 | 51.5 | 1 | 1 | 30.2 | 25 | 28.8 | 24.4 | 30.2 | 29.6 | 28.7 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29 | 55.5 | 28.4 | 56.9 | 28.8 | 55.7 | 1 | 1 | 24.6 | 24.5 | 26 | 24.2 | 26.5 | 26.5 | 26.5 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.9 | 2.51 | 50 | 0.41 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.6 | 2.56 | 50 | 0.39 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0.4 | 4.93 | 50 | 1 | 0.02 | 21.3 | 87.3 | 910 | 278.6
2026-09-17 00:29:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.2 | 28.6 | 51.6 | 28.6 | 51.7 | 1 | 1 | 30.1 | 25 | 28.8 | 24.3 | 30.2 | 29.6 | 28.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.5 | 28.4 | 56.9 | 28.8 | 55.8 | 1 | 1 | 24.7 | 24.5 | 26 | 24.2 | 26.5 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.1 | 0.12 | 10.8 | 2.51 | 49.9 | 0.4 | 224.8 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.4 | 2.56 | 49.9 | 0.39 | 225.2 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 4.93 | 50 | 0 | 1.88 | 21.3 | 86.5 | 910 | 216.2
2026-09-17 00:30:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.3 | 28.6 | 51.5 | 28.6 | 51.7 | 1 | 1 | 30.1 | 24.9 | 28.8 | 24.3 | 30.3 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.3 | 56.9 | 28.8 | 55.8 | 1 | 1 | 24.7 | 24.5 | 26 | 24.2 | 26.5 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.9 | 2.51 | 49.9 | 0.41 | 224.8 | 0 | 0 | 0.29 | 50 | 0 | 225.1 | 0.12 | 10.6 | 2.56 | 49.9 | 0.39 | 225.1 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 4.93 | 50 | 0 | 1.37 | 21.4 | 87.1 | 910 | 145.5
2026-09-17 00:31:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.4 | 28.6 | 51.5 | 28.6 | 51.7 | 1 | 0 | 30.1 | 24.9 | 28.8 | 24.4 | 30.2 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.8 | 24.5 | 26.1 | 24.3 | 26.4 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.3 | 0.12 | 11.1 | 2.51 | 50 | 0.41 | 225 | 0 | 0 | 0.29 | 50 | 0 | 225.3 | 0.12 | 10.6 | 2.56 | 50 | 0.39 | 225.3 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0 | 4.93 | 50 | 0 | 2.6 | 21.4 | 87.3 | 910 | 153
2026-09-17 00:32:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.3 | 28.6 | 51.6 | 28.7 | 51.7 | 1 | 1 | 30.1 | 25 | 28.8 | 24.3 | 30.1 | 29.7 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29 | 55.4 | 28.4 | 57 | 28.8 | 55.8 | 1 | 1 | 24.7 | 24.5 | 26.1 | 24.3 | 26.4 | 26.5 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.8 | 2.51 | 50 | 0.4 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.6 | 2.56 | 50 | 0.39 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0.4 | 4.93 | 50 | 1 | 1.37 | 21.3 | 87.2 | 910 | 206
2026-09-17 00:33:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.3 | 28.6 | 51.7 | 28.6 | 51.7 | 1 | 0 | 30.2 | 24.9 | 28.8 | 24.3 | 30.2 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.4 | 57 | 28.8 | 55.7 | 1 | 1 | 24.8 | 24.5 | 26 | 24.3 | 26.5 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225 | 0.12 | 10.9 | 2.51 | 50 | 0.4 | 224.7 | 0 | 0 | 0.29 | 50 | 0 | 225 | 0.12 | 10.7 | 2.56 | 50 | 0.39 | 225 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 4.93 | 50 | 0 | 2.86 | 21.3 | 85.1 | 910 | 151.9
2026-09-17 00:34:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.4 | 28.5 | 51.7 | 28.6 | 51.6 | 1 | 0 | 30.2 | 24.9 | 28.9 | 24.3 | 30.2 | 29.6 | 28.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.4 | 57.2 | 28.9 | 55.6 | 1 | 1 | 24.9 | 24.6 | 26.1 | 24.2 | 26.4 | 26.4 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 224.9 | 0.12 | 10.9 | 2.51 | 49.9 | 0.41 | 224.6 | 0 | 0 | 0.29 | 49.9 | 0 | 224.9 | 0.12 | 10.4 | 2.56 | 49.9 | 0.39 | 225 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0.4 | 4.93 | 50 | 1 | 1.36 | 21.2 | 85.9 | 910 | 153.9
2026-09-17 00:35:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.5 | 28.5 | 51.6 | 28.7 | 51.7 | 1 | 1 | 30.2 | 24.9 | 28.8 | 24.2 | 30.2 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.3 | 57.1 | 28.9 | 55.6 | 1 | 1 | 24.8 | 24.6 | 26.1 | 24.2 | 26.5 | 26.5 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.1 | 0.12 | 10.8 | 2.51 | 50 | 0.4 | 224.8 | 0 | 0 | 0.29 | 50 | 0 | 225.1 | 0.12 | 10.6 | 2.56 | 50 | 0.39 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 4.93 | 50 | 0 | 0.63 | 21.2 | 86.7 | 910 | 164.2
2026-09-17 00:36:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.5 | 28.6 | 51.8 | 28.7 | 51.7 | 1 | 0 | 30.2 | 24.9 | 28.9 | 24.3 | 30.2 | 29.6 | 28.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.4 | 57 | 28.8 | 55.6 | 1 | 1 | 24.8 | 24.5 | 25.9 | 24.2 | 26.5 | 26.5 | 26.5 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.8 | 2.51 | 50 | 0.4 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.6 | 2.56 | 50 | 0.39 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 4.93 | 50 | 0 | 0.03 | 21.3 | 85.5 | 910 | 185.8
2026-09-17 00:37:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.6 | 28.5 | 51.6 | 28.6 | 51.6 | 1 | 0 | 30.2 | 24.9 | 28.8 | 24.2 | 30.2 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.4 | 28.3 | 57 | 28.9 | 55.7 | 1 | 1 | 24.8 | 24.5 | 26 | 24.3 | 26.4 | 26.4 | 26.3 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.3 | 0.12 | 11 | 2.51 | 50 | 0.41 | 225 | 0 | 0 | 0.29 | 50 | 0 | 225.3 | 0.12 | 10.5 | 2.56 | 50 | 0.38 | 225.3 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.2 | 0 | 0.4 | 4.93 | 50 | 1 | 0.63 | 21.4 | 84.9 | 910 | 254.7
2026-09-17 00:38:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.6 | 28.6 | 51.7 | 28.7 | 51.7 | 1 | 0 | 30.3 | 24.8 | 28.9 | 24.3 | 30.2 | 29.6 | 28.8 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.3 | 57 | 28.8 | 55.7 | 1 | 1 | 24.8 | 24.5 | 26.1 | 24.3 | 26.4 | 26.5 | 26.4 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.8 | 2.51 | 50 | 0.4 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.4 | 2.56 | 50 | 0.38 | 225.2 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 4.93 | 50 | 0 | 0.62 | 21.5 | 85 | 910 | 221
2026-09-17 00:39:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 51.5 | 28.6 | 51.7 | 28.6 | 51.7 | 1 | 0 | 30.3 | 24.8 | 28.9 | 24.2 | 30.3 | 29.6 | 28.6 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.9 | 55.3 | 28.3 | 57.1 | 28.8 | 55.7 | 1 | 1 | 24.7 | 24.5 | 26 | 24.3 | 26.4 | 26.5 | 26.3 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.2 | 0.12 | 10.8 | 2.51 | 49.9 | 0.4 | 224.9 | 0 | 0 | 0.29 | 50 | 0 | 225.2 | 0.12 | 10.5 | 2.56 | 50 | 0.38 | 225.2 | 0 | 0 | 3.59 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.1 | 0 | 0 | 4.93 | 50 | 0 | 0.87 | 21.4 | 82.1 | 910 | 141.9
2026-09-17 00:40:00 | 0 | 20 | 1 | 0 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 51.5 | 28.5 | 51.7 | 28.6 | 51.7 | 1 | 1 | 30.2 | 24.8 | 28.9 | 24.2 | 30.2 | 29.6 | 28.7 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29 | 55.4 | 28.4 | 57.2 | 28.8 | 55.7 | 1 | 1 | 24.7 | 24.5 | 26.1 | 24.2 | 26.5 | 26.4 | 26.3 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.9 | 2.51 | 50 | 0.4 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | 225.6 | 0.12 | 10.5 | 2.56 | 50 | 0.38 | 225.5 | 0 | 0 | 3.59 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.5 | 0 | 0 | 4.93 | 50 | 0 | 1.62 | 21.5 | 83.4 | 910 | 138.8
2026-09-17 00:41:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29 | 55.4 | 28.4 | 57.2 | 28.8 | 55.7 | 1 | 1 | 24.7 | 24.5 | 26 | 24.2 | 26.5 | 26.4 | 26.5 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-17 00:00:00 | To | 2026-09-17 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 41
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 41
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 41
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 48 | 48 | 48 | 41
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 41
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 41
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 41
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 28.6 | 28.68 | 28.8 | 41
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 50.8 | 51.14 | 51.6 | 41
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 28.5 | 28.57 | 28.7 | 41
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 51.3 | 51.5 | 51.8 | 41
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.5 | 28.64 | 28.7 | 41
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 51.3 | 51.52 | 51.7 | 41
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.98 | 1 | 41
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.44 | 1 | 41
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.9 | 30.03 | 30.3 | 41
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 24.8 | 24.95 | 25 | 41
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.5 | 28.68 | 28.9 | 41
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 24.2 | 24.34 | 24.5 | 41
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.1 | 30.24 | 30.3 | 41
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.6 | 29.62 | 29.7 | 41
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.6 | 28.77 | 28.9 | 41
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.27 | 0.3 | 41
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.3 | 0.3 | 0.3 | 41
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 41
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 41
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 41
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.38 | 0.4 | 41
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 42
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 28.8 | 28.9 | 29 | 42
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 55.2 | 55.41 | 55.6 | 42
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 28.3 | 28.39 | 28.5 | 42
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 56.8 | 56.97 | 57.2 | 42
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 28.7 | 28.81 | 28.9 | 42
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 55.6 | 55.69 | 55.8 | 42
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 42
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 42
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.4 | 24.6 | 24.9 | 42
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.5 | 24.55 | 24.7 | 42
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 25.8 | 26 | 26.1 | 42
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 24.2 | 24.28 | 24.4 | 42
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.4 | 26.45 | 26.5 | 42
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.4 | 26.45 | 26.5 | 42
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.3 | 26.4 | 26.5 | 42
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 42
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.16 | 0.2 | 42
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.16 | 0.2 | 42
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 42
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 42
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 42
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 224.3 | 225.14 | 227.3 | 41
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.12 | 0.12 | 41
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.91 | 11.1 | 41
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 2.5 | 2.51 | 2.51 | 41
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.98 | 50 | 41
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.4 | 0.41 | 0.43 | 41
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 224.1 | 224.85 | 227 | 41
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 41
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 41
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 41
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.99 | 50 | 41
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 41
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 224.4 | 225.17 | 227.4 | 41
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.11 | 0.12 | 0.12 | 41
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 10.1 | 10.53 | 10.8 | 41
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 2.55 | 2.55 | 2.56 | 41
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 41
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.38 | 0.39 | 0.4 | 41
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 224.4 | 225.16 | 227.4 | 41
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 41
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 41
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 3.59 | 3.59 | 3.59 | 41
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 41
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 41
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 41
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 41
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 41
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 41
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 224.3 | 225.07 | 227.3 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.12 | 0.4 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 4.93 | 4.93 | 4.93 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.99 | 50 | 41
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.29 | 1 | 41
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 1.16 | 2.86 | 41
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.1 | 21.32 | 21.5 | 41
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 82.1 | 87.58 | 89.6 | 41
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910.1 | 911 | 41
WS-MOD-01 | WS-DIR | Arah Angin | ° | 128.7 | 210.71 | 356.5 | 41

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.