## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-06 00:00:00 | To | 2026-09-06 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V
MB-L5-01 | L5-AI-02 | Analog Input 2 | V
MB-L5-01 | L5-AI-03 | Analog Input 3 | V
MB-L5-01 | L5-AI-04 | Analog Input 4 | V
MB-L5-01 | L5-AI-05 | Analog Input 5 | V
MB-L5-01 | L5-AI-06 | Analog Input 6 | V
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m²
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m²
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s
WS-MOD-01 | WS-TEMP | Suhu Udara | °C
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa
WS-MOD-01 | WS-DIR | Arah Angin | °

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.
Tidak ada data untuk dibuat grafik.